## Slide 1
ASPAN ENERGY CI
FINANCIAL PROPOSAL
600 kWc solar PV plant for self-consumption
Client:
NESKAO
PPA Contract - 15 years Ref. OF-NESKAO-2026-001
Zero investment • Guaranteed savings • Clean energy

## Slide 2
Executive summary
ASPAN ENERGY proposes to install and operate a 600 kWc self-consumption solar plant for NESKAO, with zero investment. You only pay for the solar energy consumed, at a guaranteed tariff 20% below the CIE day tariff.
600 kWc
Recommended capacity
870 000 kWh
Solar production / yr
14.6 M FCFA
Annual saving (Sc.1)
218.8 M FCFA
15-yr cumulative
Guaranteed solar tariff: 67.10 FCFA/kWh, i.e. -20% on the CIE day tariff (83.87 FCFA/kWh).
ASPAN ENERGY CI - NESKAO Proposal - June 2026
2

## Slide 3
Current energy situation
256 816 kWh
Avg consumption / month
83.87
CIE day tariff (FCFA/kWh)
258.5 M FCFA
Estimated annual bill
12
Bills analysed
Day / night split of consumption
Day 68%
Night 32%
Solar covers daytime consumption, where most industrial activity occurs. A diesel generator provides backup during grid outages.
ASPAN ENERGY CI - NESKAO Proposal - June 2026
3

## Slide 4
The ASPAN ENERGY PPA Model
ASPAN ENERGY finances, installs, owns and operates the plant on your site. NESKAO only pays for the solar energy consumed.
Zero investment
100% financed by ASPAN ENERGY (studies, equipment, works).
Zero operating cost
Maintenance, insurance and monitoring included for 15 years.
Pay per consumption
Monthly billing of solar kWh delivered only, certified meter.
Guaranteed discount
Solar tariff contractually 20% below the CIE day tariff.
ASPAN ENERGY CI - NESKAO Proposal - June 2026
4

## Slide 5
Proposed solar solution
600 kWc
Installed capacity
1 000
PV modules
870 000 kWh
Estimated production / yr
Sizing logic
Capacity = minimum of roof (598 kWc), grid connection (1 000 kWc) and daytime consumption (1 445 kWc).
Binding constraint: roof area.
Technical characteristics
Roof area used: 5 149 m2
High-efficiency monocrystalline modules + string inverters
On-site self-consumption, complementing the grid
Certified metering of delivered energy
Real-time production monitoring
ASPAN ENERGY CI - NESKAO Proposal - June 2026
5

## Slide 6
Technical feasibility study
Le projet de centrale solaire de 600 kWc pour NESKAO est techniquement realisable et pertinent.
1 250 kVA
CIE transformer
1 100 kW
Backup generator
1 000
PV modules
Power allocation per building
Building | Area | Capacity
Batiment T9 | 2 152 m2 | 320 kWc
Chambre Froide / R1 | 768 m2 | 130 kWc
Nettoyage & Stockage | 829 m2 | 110 kWc
Torrefaction / Decort. | 1 400 m2 | 40 kWc
TOTAL | 5 149 m2 | 600 kWc
Audit completed
Technical visit and site expertise completed.
Validated by ADIOBY David
ASPAN ENERGY CI - NESKAO Proposal - June 2026
6

## Slide 7
Grid Replacement
Daytime consumption is currently supplied by the CIE grid (83.87 FCFA/kWh). Solar replaces it at the ASPAN tariff (67.10 FCFA/kWh).
1.2 M FCFA
Monthly saving
14.6 M FCFA
Estimated annual saving
218.8 M FCFA
Cumulative 15-yr saving
Cost of kWh comparison
Current cost (baseline)
83.87
ASPAN solar tariff
67.10
That is -20% on the cost of each kWh replaced by solar.
ASPAN ENERGY CI - NESKAO Proposal - June 2026
7

## Slide 8
Grid + Diesel Operation
Assumption: 50% grid / 50% diesel generator (diesel 700 FCFA/l, 0.3 l/kWh, i.e. 210 FCFA/kWh). Solar replaces this mix at 67.10 FCFA/kWh.
5.8 M FCFA
Monthly saving
69.5 M FCFA
Estimated annual saving
1.04 B FCFA
Cumulative 15-yr saving
Cost of kWh comparison
Current cost (baseline)
146.94
ASPAN solar tariff
67.10
That is -54% on the cost of each kWh replaced by solar.
ASPAN ENERGY CI - NESKAO Proposal - June 2026
8

## Slide 9
Cumulative savings over 15 years
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Grid Replacement | 14.6 | 29.2 | 43.8 | 58.4 | 72.9 | 87.5 | 102.1 | 116.7 | 131.3 | 145.9 | 160.5 | 175.1 | 189.7 | 204.3 | 218.8
Grid + Diesel Operation | 69.5 | 138.9 | 208.4 | 277.8 | 347.3 | 416.7 | 486.2 | 555.7 | 625.1 | 694.6 | 764 | 833.5 | 902.9 | 972.4 | 1041.8
Cumulative savings in millions of FCFA (excl. tax).
ASPAN ENERGY CI - NESKAO Proposal - June 2026
9

## Slide 10
Financial analysis
130.7 M FCFA
NPV of savings (15 yr)
28%
of consumption covered
14.6 M FCFA
Annual saving (yr 1)
Assumptions & impact
Discount rate: 10% - CIE tariff escalation: 3%/yr.
Current cost of this energy: 73.0 M FCFA/yr.
Cost under the ASPAN PPA: 58.4 M FCFA/yr.
CO2 avoided: 478 t/yr (~7 178 t over 15 yr).
Year | Saving/yr | Cumulative
1 | 14.6 M FCFA | 14.6 M FCFA
3 | 15.5 M FCFA | 45.1 M FCFA
5 | 16.4 M FCFA | 77.5 M FCFA
7 | 17.4 M FCFA | 111.8 M FCFA
9 | 18.5 M FCFA | 148.2 M FCFA
11 | 19.6 M FCFA | 186.9 M FCFA
13 | 20.8 M FCFA | 227.9 M FCFA
15 | 22.1 M FCFA | 271.4 M FCFA
ASPAN ENERGY CI - NESKAO Proposal - June 2026
10

## Slide 11
Services included for 15 years
Studies & engineering
Feasibility, sizing, detailed engineering
Turnkey installation
Supply, works and commissioning, manufacturer warranties
Operation & maintenance
Preventive and corrective maintenance for the whole PPA
All-risk insurance
Full coverage of the installation
Real-time monitoring
Production tracking accessible to the client
Certified metering
Measurement of delivered energy, billing basis
ASPAN ENERGY CI - NESKAO Proposal - June 2026
11

## Slide 12
Next steps
1
Energy audit and technical site visit (done)
2
Analysis of the last 12 CIE bills and contractual tariff setting (done)
3
Signature of the 15-year PPA contract
4
Installation in 2 to 3 months, commissioning and first savings
Abdoulaye OUATTARA
Managing Director – ASPAN ENERGY CI
abdoulaye@aspanenergy.com - Cocody Bonoumin, Abidjan
Indicative offer valid for 90 days - Ref. OF-NESKAO-2026-001